8.5 Fire safety and emergency evacuation

Policy statement

We ensure our premises present no risk of fire by ensuring the highest possible standard of fire precautions. The person in charge and our staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer or Fire Safety Consultant. A Fire Safety Log Book is used to record the findings of risk assessment, any actions taken or incidents that have occurred and our fire drills. Downloadable Fire Safety Log Books are widely available free of charge on line.

Procedures

Fire safety risk assessment

- The basis of fire safety is risk assessment, carried out by a ‘competent person’.

- The manager has received training in fire safety sufficient to be competent to carry out the risk assessment; this will follow the Government guidance Fire Safety Risk Assessment - Educational Premises (HMG 2006).

- our fire safety risk assessment focuses on the following for each area of the setting:

- Electrical plugs, wires and sockets.

- Electrical items.

- Gas boilers.

- Cookers.

- Matches.

- Flammable materials – including furniture, furnishings, paper etc.

- Flammable chemicals .

- Means of escape.

- Anything else identified.

- Where we rent premises, we will ensure that we have a copy of the fire safety risk assessment that applies to the building and that we contribute to regular reviews.

Fire safety precautions taken

- We ensure that fire doors are clearly marked, never obstructed and easily opened from the inside.

- We ensure that smoke detectors/alarms and fire fighting appliances conform to BS EN standards, are fitted in appropriate high risk areas of the building and are checked as specified by the manufacturer.

- We have all electrical equipment checked annually by a qualified electrician. Any faulty electrical equipment is taken out of use and either repaired or replaced.

- We ensure sockets are covered. our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- practised regularly, at least once every six weeks.

- Records are kept of fire drills and of the servicing of fire safety equipment.

Emergency evacuation procedure

- A member of staff who has identified the fire will shout out to all other staff ‘Fire – Evacuate’

- Fire doors are pointed out to staff members and visitors on arrival.

- Children are led from the building to the assembly point on the front car park calmly.

- The most senior staff member will take the register & mobile phone with them outside.

- The senior staff member will time the evacuation procedure.

- The senior member of staff will call the emergency services, when everyone is safely out of the building.

- Parents will be contacted via phone using the playgroup mobile when it is safe to do so.

Fire drills

We hold fire drills termly and record the following information about each fire drill in the Fire Safety Log Book:

- The date and time of the drill.

- Number of adults and children involved.

- How long it took to evacuate.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

Legal framework

- Regulatory Reform (Fire Safety) Order 2005

Further guidance

Fire Safety Risk Assessment - Educational Premises (HMG 2006)

| This policy was adopted by | Bramblebrook Pre-School Playgroup | (name of provider) |
| --- | --- | --- |
| On | 16/02/2016 | (date) |
| Date to be reviewed | Ongoing | (date) |
| Signed on behalf of the provider |  |
| Name of signatory | Clare Penter |
| Role of signatory (e.g. chair, director or owner) | Manager |

Other useful Pre-school Learning Alliance publications

- Fire Safety Record (2015)